## Appendix B
APPENDIX B: PHONE SYSTEM REQUIREMENTS
Solicitation FY24-805-62 (5/13/2024)
Enterprise Phone System |  | Respondent Name:
Requirements Mapping
ID Number | Requirement Description | Commercial Product Meets Requirements(Y/N) | FedRamp Product Meets Requirements(Y/N) | Comments
1 | Technical Specifications
1.1. | Robust Phone System: A reliable phone system capable of handling high call volumes with minimal downtime.
1.2. | Fault Tolerance and High Availability with Local Survivability.
1.2.1. | The phone system architecture will be designed and implemented to withstand local outages including network, power, and service provider outages.
1.2.2. | Calling ability will continue with minimal interruption if external network services are unavailable. - On-prem station-to-station will continue to operate regardless of the status of the external network interface.
1.2.3. | Support for automatic failover and recovery to maintain phone service.
1.2.3.1. | Supporting redundant alternate interfaces for SIP, T1 / PRI, and Wireless WAN/Metric Routing (eg cradlepoint).
1.2.3.2. | Seamless Hybrid Cloud and On-Premises solution with failover.
1.2.3.3. | Provide a method to test failover capabilities periodically.
1.2.3.4. | Reporting and Alerting on the status of devices that are offline or malfunctioning.
1.3. | IP phone connectivity is preferred; however, the system must allow connection to analog endpoint devices (see 6. Special Uses )
1.4. | Phone Devices
1.4.1. | Must support Power Over Ethernet devices that are limited to 30 watts, daisy chain PC at to phone.
1.4.2. | Devices support a minimum network bandwidth of 1Gb to the desktop daisy chain.
1.4.3. | All devices regardless of platform will have a similar user interface to reduce the need for device-specific training.
1.4.4. | A native application extends call features to mobile devices and desktops.
1.4.5. | Computer Desktop phones will operate within the modern Microsoft Windows environment.
1.4.6. | Smart Phone: Features that allow employees to use their mobile devices as part of the system.
1.4.6.1. | Administrative control features are available to authorize or prevent the use of corporately-owned (COD) or employee-owned devices (BYOD) .
1.5. | Call Quality and Performance
1.5.1. | The solution will have the ability to configure the system to optimize QoS performance and reliability. This includes traffic prioritization, bandwidth allocation, and traffic-shaping to prevent the loss of call quality.
1.5.2. | Call Quality Metrics: Monitoring and reporting on call quality metrics, such as jitter, latency, and packet loss, to ensure high-quality voice communications.
1.6. | Operating system for on-premises solution
1.6.1. | The On-Premises solution will operate as an appliance or on a virtual machine compatible with the Airport’s VMWare infrastructure.
1.7. | Scalability & Extensibility
1.7.1. | Scalable Design: The system can be easily expanded or upgraded without significant overhauls or excessive cost.
1.7.2. | Support for Emerging Technologies: Product development roadmap integrating emerging standards and technologies such as laws and regulations, AI capabilities, and Internet of Things (IoT) integrations.
1.8. | Cyber Resilience.
1.8.1. | Multi-Factor Authentication.
1.8.1.1. | The system must provide support for Multi-Factor Authentication for privileged system administration access.
1.8.1.2. | The solution must support either application native MFA or SSO OKTA integration.
1.8.2. | End-to-End Encryption (E2EE) for Calls and Messages: To protect against eavesdropping, and call barging to ensure privacy.
1.8.3. | Data and information at rest is encrypted
1.8.4. | Regular Updates and Patch Management: The phone system and its associated software, and components seamlessly are continually dated to the latest system updates with zero outage experienced by users.
1.8.5. | Monitoring, Detection, and Reporting: Continuous monitoring of the cloud services to detect, respond to, and mitigate cybersecurity threats , including unusual activity or potential security breaches. The vendor must have an effective incident response plan that includes procedures for reporting sec
1.8.6. | Disaster Recovery and Business Continuity Planning: Establish and regularly test a disaster recovery plan to ensure that the phone system can be quickly restored in case of a cyber incident or other disruptions.
1.8.7. | System configuration will be periodically backed up with the ability to store backup copies offline.
1.8.8. | The system and devices must have configurations to prevent cyber exploits and fraud.
1.9. | Compliance
1.9.1. | Compliance with applicable laws and regulations regarding 911 emergency services to ensure effective and timely response in emergencies. Compliance with Kari’s Law, RAY BAUM's Act, & Alyssa's Law is required.
1.9.2. | Compliance with data protection and privacy standards, like GDPR or CCPA.
1.9.3. | While FedRAMP compliance is not mandatory for this procurement, vendors with FedRAMP-certified solutions will be given preferential consideration. Vendors that are not currently FedRAMP compliant are encouraged to describe any plans or ongoing efforts to achieve FedRAMP certification, including time schedule
1.9.4. | Accessibility
1.9.4.1. | Compliance with Accessibility Standards: Ensuring the system is usable for individuals with disabilities, meeting standards such as the Americans with Disabilities Act (ADA).
1.9.4.2. | Features for Hearing and Visually Impaired Users: Including text-to-speech for voicemails, adjustable font sizes for display screens, and compatibility with hearing aids.
2. | System Features and Functionality
2.1. | Auto-attendant and IVR (Interactive Voice Response): For directing callers to the appropriate department or information.
2.1.1. | Greet callers and guide them through a menu to reach the appropriate department or service.
2.1.2. | Customizable greetings and menus based on time of day, caller ID, or specific inputs.
2.1.3. | Multiple parallel auto-attendant workflow can be supported within the system.
2.1.4. | Voice-enabled IVR; Caller is able to interact with menus and prompt with speech.
2.1.5. | Multi-lingual support in IVR system will allow caller to select a preferred language.
2.1.6. | Voice-enabled directory allows users to speak or spell the name of a person or department in the corporate directory
2.1.7. | AI chatbot provides intelligent call routing and FAQ information to callers using trained AI and natural language processing. AI agent is also capable of being available on the Airport webpage.
2.2. | Call Recording.
2.2.1. | Public Safety Answering Point (PSAP)
2.2.1.1. | The ability to configure a phone extension to be recorded for each call.
2.2.1.2. | Call recordings will be stored and retained for 45 days. Expired recordings will be automatically deleted, unless ‘saved’ by a supervisor.
2.2.1.3. | Call recordings will be access controlled to allow designated department supervisors permission to review, download, or delete recordings.
2.2.1.4. | Parties to the call must be informed that the call is being recorded.
2.2.1.5. | Word and phrase search across selected recorded calls
2.2.1.6. | Recorded audio transcription and transcription export.
2.3. | Voicemail Configuration.
2.3.1. | The ability to set system-wide retention policies for user voicemail boxes.
2.3.2. | The system must support multiple users accessing a voicemail box of a shared extension.
2.3.3. | The system must have the ability to define systemwide retention and automatic delete policies.
2.4. | Preemption and prioritization.
2.4.1. | The system will have the ability to preempt calls to prioritize in the event of an emergency.
2.5. | Remote ‘off-premises’ use.
2.5.1. | Users are able to, without IT support, move a desk phone to an off-premises location and use the phone as if they were in the office.
2.5.2. | System administrators are able to authorize and manage work-remote desk phone devices.
2.6. | Phone Directories.
2.6.1. | The system will have the ability to define calling directories that can be distributed to phones.
2.6.2. | Directories shall include numbers from the phone system and from organizational contacts managed in the Airports Active Directory system (See Integration with Other Systems)
3. | User Features and Functionality
3.1. | Call Routing and Forwarding:
3.1.1. | Ability to direct incoming calls to specific extensions, departments, or external numbers based on predefined rules, schedules, or user’s preferences.
3.1.2. | Simultaneous ringing across multiple extensions or sequential ringing options to ensure calls are answered promptly.
3.1.3. | Simultaneous ringing across multiple user devices, Handset, Desktop and Mobile devices.
3.1.4. | Group rotating: Rings a configurable subset of queue members simultaneously (the subset is defined by the group size), before moving on to ringing the next subset of queue members with the next call or after a configurable ringing-time interval.
3.2. | Conference Calling.
3.2.1. | Support for hosting multi-party audio meetings directly through the phone.
3.3. | Caller ID
3.3.1. | Caller ID for incoming calls
3.3.2. | Ability to designate a preferred Caller ID to be used for outbound calls.
3.3.3. | Option to display the originating Caller ID for forwarded calls.
3.4. | Call History
3.4.1. | Ability for users to review prior call history (inbound and outbound) including caller-id information and date/time of call.
3.4.2. | Ability to recall/redial numbers from the call history log
3.5. | Voicemail
3.5.1. | Voicemail to Email: Transcription and forwarding of voicemails to email.
3.5.2. | Visual Voicemail synchronized across user devices.
3.5.3. | Ability to export voicemail audio formatted file.
3.5.4. | Voicemail export can be done as a user or system administrator.
3.6. | Hot Desking: The ability to temporarily ‘sign in’ to a device and have the user’s phone number, voicemail, and other configured preferences follow them.
3.6.1. | Configurable Automatic Time-out of a Hot Desked phone.
3.7. | Presence Information:
3.7.1. | The system will display the availability status of a phone user (e.g., available, busy, in a meeting, on the phone). The information will be integrated with and visible within MHT’s Microsoft collaboration environment.
3.8. | Click to Dial. The end user will be able to click on a phone person’s Microsoft 365 presence indicator to connect a call to the user’s preferred devices (desktop client, help phone, smart phone).
3.9. | Call Blocking:
3.9.1. | The system will have a feature to block Known Spam numbers.
3.9.2. | Users have the ability to apply the Know Spam numbers filter and additional user selected numbers to block.
3.10. | Call Recording
3.10.1. | A user has the ability to record a call before or during the call.
3.10.2. | Initiating a call recording can be done simply from a user’s devices.
4. | Integration with other systems:
4.1. | Active Directory
4.1.1. | User Privileges and AD Groups: The phone system will leverage Active Directory (AD) or Azure AD for managing user privileges and access controls.
4.1.2. | Directory of Users and Departments: The phone system have the ability to merge contacts and numbers managed in AD or Azure AD and the phone system native directory.
4.1.3. | AD changes should automatically sync directories to the phone system.
4.2. | Email Platform.
4.2.1. | Exchange email: The phone system will integrate with exchange online for sending voicemails and notifications to users.
4.2.2. | Outlook personal contacts may, based on user configuration, be integrated into the user’s phone directory.
4.2.3. | Email Protection and Authentication: The phone system will support email security protocols DKIM (DomainKeys Identified Mail), DMARC (Domain-based Message Authentication, Reporting, and Conformance), and SPF (Sender Policy Framework).
4.3. | Microsoft Teams Solutions.
4.3.1. | Rich integration will provide a seamless experience for Teams and the phone system.
4.4. | Microsoft 365
4.4.1. | The phone system should integrate with Microsoft 365 applications (like Word, Excel, and SharePoint) to enable click-to-call functionality.
4.5. | Public Address System
4.5.1. | (see Special Use Cases)
4.6. | Office Phone Types.
4.6.1. | Office Phone Type 1: Direct Inward Dial
4.6.1.1. | Type 1 phones have direct inward dial numbers assigned.
4.6.2. | Office Phone Type 2: Office Extension
4.6.2.1. | Type 2 phones are office extensions only.
4.7. | Eventide Call Recording:
4.7.1. | The Phone System will have the ability to integrate with the MHT Eventide phone/radio audio recording system -or alternative recommended pre-integrated system - to manage the Communication Center call recordings.
5. | Call Accounting
5.1.1. | Detailed records of All Calls: Inbound, outbound, and internal call details, including date, time, duration, caller ID, destination number, and cost.
5.1.2. | Ability to export call records for analysis.
5.1.3. | Legal Discovery Support: Ability to easily retrieve call records, recordings and logs for legal proceedings or audits.
5.1.3.1. | Search features support e-discovery including, call history (extension, external number date time), and voicemail boxes.
5.1.3.2. | Spoken phase or utterance searches are also supported for recorded messages and voicemails.
5.2. | Cost Management and Allocation
5.2.1. | Rate Tables and Billing Integration: Ability to assign different rate tables for various types of calls (e.g., local, long-distance, international) and integrate with billing systems for accurate cost allocation.
5.3. | Fraud Detection and Security
5.3.1. | Unusual Activity Alerts: Real-time alerts for suspicious call patterns that could indicate fraud, such as an unusually high number of international calls or calls at odd hours.
5.3.2. | Call Barring and Restrictions: Ability to set restrictions on certain types of calls or destinations to prevent unauthorized use and reduce costs.
5.4. | Productivity and Behavior Insights
5.4.1. | Activity Reports: Detailed reports on call activity, helping to assess productivity, especially for information to optimize call agent workload.
5.4.2. | Training and Performance Improvement: Identifying training needs or performance issues based on call handling times, call outcomes, and other metrics.
5.5. | AI-based Call Analytics: For enhanced understanding of call patterns, customer sentiment analysis, and predictive analytics to improve customer service.
6. | Special Use Cases
6.1. | Communications Center (Public Safety Answering Point)
6.1.1. | Queue Management:
6.1.1.1. | Systems will provide the ability to manage call queues effectively, minimizing wait times and distributing calls based on priority or agent specialization.
6.1.1.2. | Management of call queuing and prioritization based on the nature and severity of the emergency.
6.1.1.3. | Automatic Call Distribution (ACD): The system will be capable of distributing incoming calls among available agents based on predefined rules such as skill level, availability, or workload.
6.1.2. | Detailed reporting and analytics tools will track call center performance, customer satisfaction, agent productivity, call volumes, resolution rates, and other critical metrics.
6.1.3. | Workforce Management: Tools for forecasting call volumes, scheduling agents, and managing workloads to ensure the call center is adequately staffed at all times.
6.1.4. | Quality Assurance: Quality assurance processes, including call monitoring, call whisper and barge, recording, and evaluation, to ensure agents adhere to call center protocols and customer service standards.
6.1.5. | Customer Satisfaction and Feedback; Mechanisms to gather and analyze customer feedback on their call experience, helping to improve services and address any issues proactively.
6.1.6. | Call Priority Handling: Ability to prioritize emergency calls over non-emergency calls to ensure immediate response to critical situations.
6.1.7. | Compatibility with Next Generation 911 (NG911) infrastructure, supporting digital information transmission like text, images, and video.
6.1.8. | Incorporation of real-time communication tools to allow dispatchers to communicate instantly with emergency responders, other PSAPs, and relevant agencies.
6.1.9. | Option to have Communications center phones in a hunt group with simultaneous ring (See Shared-Phone-Type-2)
6.2. | Courtesy phones
6.2.1. | Courtesy Phones will have lockable configurations. These publicly accessible devices shall be durable, resistant to damage and able to withstand potential physical abuse.
6.2.2. | Courtesy phones are not reachable from outside the enterprise (can not be called).
6.2.3. | Courtesy phones shall not have voicemail capabilities.
6.2.4. | Phone Use Types
6.2.4.1. | Courtesy Phone Type 1 – External Calling – IP phone
6.2.4.1.1. | Support for CONUS calling.
6.2.4.1.2. | Soft button directory for connecting to known airport services or vendors which are either on-premises (internal extension) and off-premises (800 number).
6.2.4.1.3. | 911 Direct call
6.2.4.1.4. | Type 1 phone are rugged public facing devices
6.2.4.2. | Courtesy Phone Type 2 – Analog Phone
6.2.4.2.1. | Automatic direct dial to an internal extension when the receiver is off hook (ring down).
6.3. | External Ringers
6.3.1. | The system will support external ringer, klaxon, and visual ring devices.
6.4. | Public Address System
6.4.1. | Include interface standards, protocols, and any necessary hardware or software components needed to ensure seamless connectivity to bridge calling into the Public Address system.
6.4.2. | Provide the security measures need to limit the use of the Public Address bridge to authorize users or specific originating extensions.
6.5. | Shared Phones
6.5.1. | Shared Device Type 1 – Multiuser Extension
6.5.1.1. | Share phones are in common locations and are openly usable by employees and guests.
6.5.1.2. | Each phone has a unique extension number.
6.5.1.3. | The system will not require a user to login to a shared device.
6.5.1.4. | The system must allow multiple users to share the same device and have the same extension number listed in the directory.
6.5.1.5. | Shared phones can be configured as “extension to extension” calling or local calling plans, no voicemail is required.
6.5.1.6. | Ringers on individual phones must have the ability to Mute.
6.5.1.7. | Must support the ability to hot desk.
6.5.2. | Shared Device Type 2: - Multiphone extension
6.5.2.1. | Type 2 phones are used predominantly in the Airport Rescue and Fire Fighting (ARFF) station and the Communication Center as a shared-ring phone.
6.5.2.2. | The system will allow multiple phones to use the same extension e.g.(shared line experience).
6.5.2.3. | All phones sharing the same extension will ring simultaneously.
6.5.2.4. | Any device can pick up a call on the shared extension.
6.5.2.5. | Share Device Type 2 extension may be associated with a shared voicemail box.
6.5.2.6. | Status Visibility: Devices with indicate whether the line is currently in use.
6.5.2.7. | Call Park and Pickup: Features that allow users to park a call and then pick it up on a different shared extension.
6.6. | Emergency Operations Center standby
6.6.1. | EOC phones will be stored, offline in a ready-to-deploy state in the event of emergency.
6.6.2. | EOC phones will have pre-assigned DID numbers aligning with specific EOC roles.
6.6.3. | EOC roles and phone numbers will be published in an EOC directory available to phone system users.
6.6.4. | EOC phones will have the same capabilities as other Airport general office phones.
6.6.5. | EOC phone will require call recording.
6.6.6. | Mobile devices:
6.6.6.1. | EOC numbers may be used on mobile phones as permitted by the system administrator.
6.6.6.2. | The system will allow a single mobile application to manage multiple phone extensions simultaneously.
6.6.7. | EOC activation testing will occur Semi-Annually.
6.7. | Elevator Emergency Phones
6.7.1. | The system will support the analog devices currently in elevators.
6.7.2. | Elevator Emergency Phones automatically dial the communication center when activated.
6.7.3. | Elevator Emergency phone must identify the location of the phone to the communication center when called.
7. | Support and Maintenance
7.1. | SLA (Service Level Agreement) Details: Vendor must have clearly defined support levels, response times, and maintenance windows (4-hour response time, 24x7x365)
7.2. | Vendor Support: Access to knowledgeable and responsive support teams for troubleshooting, with options for on-site support as needed.
7.3. | Intuitive User Interface (UI): For both hardware and software, ensuring ease of use to minimize training requirements and increase adoption.
7.4. | Comprehensive Training Materials: Provision of detailed user guides, online tutorials, and training sessions for different levels of users.
7.5. | Regular Security Audits and Updates: Commitment from the vendor to provide ongoing security assessments and timely updates to address new vulnerabilities.
7.6. | High reliability is crucial. The system should guarantee uptime of 99.999% ("five nines"), minimizing downtime to ensure continuous availability.
8. | Calling Service Management
8.1. | Administration:
8.1.1. | The system should allow system administrators to easily assign specific calling plans to both users and their associated phones, enabling control and access to call capabilities.
8.1.2. | Approval Process: The option to require approval from MHT for changes to phone plans, adding a layer of oversight and control to ensure that changes are justified and authorized.
8.1.3. | Immediate Effect: Changes made to the calling plans are applied immediately, without any processing delay, allowing for near real-time updates and modifications to service access 24x7x365.
9. | Implementation and Transition
9.1. | Implementation Plan: Develop a detailed implementation plan, including timelines, milestones, testing phases, and contingency measures. This plan should cover installation, configuration, and integration with existing systems.
9.2. | Training and Support: Plan for comprehensive training, IT staff, and materials for end-users, to ensure they are familiar with the new system.
9.3. | Define plans for ongoing support and maintenance.
9.4. | Go-Live and Rollout Strategy: Advise the go-live strategy and whether the transition will be done all at once or in phases.
9.5. | Post-Implementation Review and Optimization: Conduct a post-implementation review to assess the project's success, identify any issues, and optimize the system for better performance.
9.6. | Business Continuity Planning: Develop plans for business continuity during the transition, including fallbacks to the old system if critical issues arise with the new system.
10. | Term
10.1. | An initial 3-year contract term, with optional ongoing annual renewal based on performance and business needs. Costs quotes should include breakdown of potential contract extension escalators for a 5 year total cost of ownership.
11. | Devices and User Counts
11.1. | References to a particular trade name, manufacturer's catalog, or model number, are made for descriptive purposes only to guide the Bidder in interpreting the requirements of the City and should not be construed as excluding Bids with other types of materials, equipment, and supplies. All Materials
11.2. | Legacy analog telephone devices must be supported. These include airport courtesy phones, PA system interfaces, external ringers, klaxon, and lights. Analog to digital converters must support a loop length of 2000 ft using standard 24- gauge wire.
Note on D6: If a FEDRamp Product is available, confirm functionality and include a pricing option.